## Slide 1: Global Water – Rincon Water Company, Inc. Update
Jon Corwin, Vice President and General Manager
Beth Huerta, Client Services Manager January 28, 2023

## Slide 2: Agenda
Global Water
System Improvements
Customer Portal
Rate Case Update
Customer Assistance Program Review

## Slide 3: About Global Water
Founded in 2003
Only Operate in Arizona
Employ Approximately 100 Arizonans – Engineers, Certified Operators, Compliance and Safety Professionals
Provide Water, Wastewater and Recycled Water Service to Over 56,000 Connections
Conservation Focus
  Total Water Management
  Saved over 10 billion gallons of water since 2004
  Customer tools for conservation

## Slide 4
Global Water – Rincon Water Company, Inc.

## Slide 5: Integration Work Completed
Utility Focused Team – Water Resources, Compliance, Safety, Maintenance Expertise
Staffed Call Center and After-Hours Service (Nov 2021)
Asset Management / GIS Deployment (On-Going)
  Improved asset maintenance tracking
  Digitized as-built drawings
  Enhanced emergency response
Enhanced IT & OT Security (Jun 2022)

## Slide 6: Meter Exchange Summary
Will Install Neptune R900i E-CODER Meters
  Drive-by meter reading technology
  96 days of stored history for troubleshooting
Meter reading process will take approximately 1-2 manhours vs. 12 manhours
  Opportunity for human error significantly reduced
Manual Reads
Drive-by Reads
To

## Slide 7: Customer Portal

## Slide 8: 2023/2024 Planned Improvements
Fluoride Treatment
Replace Storage Reservoir and Booster Pumps
Water Disinfection Process
Updated Electrical Equipment
Tank Inspections
SCADA Controls

## Slide 9: Rate Case
Probable Rate Case Filing in Mid-2023
  In-depth review by Arizona Corporation Commission
Reason for a Rate Case
  Last rate case test year was 1997
  Inflation - labor, materials, chemicals, fuel, power have all increased significantly
  Recover costs of system improvements
Process/Timing
  Rate case timeclock is 270 days meaning, once we file, rates will not be implemented for 270 days. No rate change until late 2023 or early 2024
Commit to Come Back and Provide Updates

## Slide 10: Customer Assistance Program
Summer 2022 – Implemented Customer Assistance Program
  Up to $350 in annual assistance
Eligibility
  Low Income
  Deployed Service Members
  Disabled Veterans
  Furloughed Workers
  Medical Hardship
GWR contribute $50,000 Annually

## Slide 11
Thank You