## Slide 1: Global Water – Las Quintas Serenas Water Company, Inc. Update
Jon Corwin, Vice President and General Manager
Beth Huerta, Client Services Manager January 12, 2023

## Slide 2: Agenda
Global Water
System Improvements
Customer Portal
Rate Case Update
Customer Assistance Program Review

## Slide 3: About Global Water
Founded in 2003
Only Operate in Arizona
Employ Approximately 100 Arizonans – Engineers, Certified Operators, Compliance and Safety Professionals
Provide Water, Wastewater and Recycled Water Service to Over 56,000 Connections
Conservation Focus
  Total Water Management
  Saved over 10 billion gallons of water since 2004
  Customer tools for conservation

## Slide 4
Global Water – Las Quintas Serenas Water Company, Inc.

## Slide 5: Integration Work Completed
Staffed Call Center and After-Hours Service (Nov 2021)
Asset Management / GIS Deployment (On-Going)
  Improved asset maintenance tracking
  Digitized as-built drawings
  Enhanced emergency response
Enhanced IT & OT Security (Jun 2022)
Utility Focused – Water Resources, Compliance, Safety, Maintenance Expertise
Technology Integration (Dec 2021)
  Increased Workflow Efficiency
  Record Retention

## Slide 6: LQS Meter Exchange Summary
Replaced 1,095 meters Installed Neptune R900i E-CODER Meters
  Obtain reads at 15-minute intervals and data presented to customers in hourly intervals
  96 days of stored history
Meter reading process takes approximately 3 manhours vs. 40 manhours
  Opportunity for human error significantly reduced
Manual Reads
Automated Reads
To

## Slide 7: Customer Portal

## Slide 8: Customer Portal
Track Monthly Consumption
Set-up Usage Alerts & Billing Preferences
Easy Payment Methods
Tools to Troubleshoot High Consumption

## Slide 9: Pressure Issues
Installed Syrinix Pipeminder Loggers at Well 5 & Standpipe
  Initial results indicate decreased pressure related to standpipe usage
Next Steps:
2023 - Engineer Advanced Water Model
  Validation of system dynamics
  Detailed assessment of system capacities
  Identify potential system enhancements
Update Town Staff on Water Model Findings

## Slide 10: 2023 Planned Improvements
Standpipe Upgrades
Chlorine Injection at Well 5
  Improved water quality and safety
Valve Maintenance and Replacement
Tank Inspections
Long Range CAPEX Planning
  Enhanced SCADA Controls and Automation
  Tank Repairs and Rehabilitation
  Infrastructure Rehabilitation (Wells, Pumps, Motors)

## Slide 11: Rate Case
Probable for Rate Case Filing in Mid-2023
  In-depth review by Arizona Corporation Commission
Reason for a Rate Case
  Last rate case was in 2012
  Inflation - labor, materials, chemicals, fuel, power have all increased significantly
  Recover costs of system improvements
Process/Timing
  Rate case timeclock is 270 days meaning, once we file, rates will not be implemented for 270 days. No rate change until late 2023 or early 2024
Commit to Come Back and Provide Updates

## Slide 12: Customer Assistance Program
Summer 2022 – Implemented Customer Assistance Program
  Up to $350 in annual assistance
Eligibility
  Low Income
  Deployed Service Members
  Disabled Veterans
  Furloughed Workers
  Medical Hardship
GWR contribute $50,000 Annually

## Slide 13
Thank You