## Slide 1: Global Water – Francesca Water Company, Inc. Update
Jon Corwin, Vice President and General Manager
James Segrave, Operations Support Manager
Beth Huerta, Client Services Manager May 17, 2023

## Slide 2: Agenda
Global Water
System Improvements
Customer Portal
Rate Case Update
Customer Assistance Program Review

## Slide 3: About Global Water
Founded in 2003
Only Operate in Arizona
Employ Approximately 100 Arizonans – Engineers, Certified Operators, Compliance and Safety Professionals
Provide Water, Wastewater and Recycled Water Service to 59,800 Connections
Conservation Focus
  Total Water Management
  Saved over 10 billion gallons of water since 2004
  Customer tools for conservation

## Slide 4
Global Water – Francesca Water Company, Inc.

## Slide 5: Integration Work Completed
Utility Focused Team – Water Resources, Compliance, Safety, Maintenance Expertise
Staffed Call Center and After-Hours Service (Nov 2021)
Asset Management / GIS Deployment (On-Going)
  Improved asset maintenance tracking
  Enhanced emergency response
Enhanced IT & OT Security (Jun 2022)

## Slide 6: Meter Exchange Summary
Installed Neptune R900i E-CODER Meters
  Drive-by meter reading technology
  96 days of stored history for troubleshooting
Meter reading process will take approximately 0.5 manhours versus 4 manhours
  Opportunity for human error significantly reduced
Manual Reads
Drive-by Reads
To

## Slide 7: Customer Portal

## Slide 8: Completed Improvements
Potable Wall Rehabilitated – Capacity of Well Restored
Replaced Failed Booster Pump, Right-sized Second Booster Pump
Meter Replacement Project
  Water loss reduced to less than 10% for combined system

## Slide 9: Future Improvements Planned
Deployment of Supervisory Controls and Data Acquisition (SCADA)
  Provides enhanced remote monitoring and alarming capabilities
Construct Interconnect with Contiguous Public Water System
  System currently has a single well. Interconnect creates system redundancy.

## Slide 10: Rate Case
Rate Case Filing in Mid-2023
  In-depth review by Arizona Corporation Commission
Reason for a Rate Case
  Last rate case test year was 2010
  Inflation - labor, materials, chemicals, fuel, power have all increased significantly
  Recover costs of system improvements
Process/Timing
  Rate case timeclock is 270 days meaning, once we file, rates will not be implemented for 270 days. No rate change until late 2023 or early 2024
Commit to Come Back and Provide Updates

## Slide 11: Customer Assistance Program
Summer 2022 – Implemented Customer Assistance Program
  Up to $350 in annual assistance
Eligibility
  Low Income
  Deployed Service Members
  Disabled Veterans
  Furloughed Workers
  Medical Hardship
GWR contributes $50,000 Annually

## Slide 12
Thank You